Construction Specification

For

UNOLS Standard Portable Van

Rev 9

July 2012

TABLE OF CONTENTS

1. Introduction
   1. General
   2. Notes and Highlights
   3. Drawings
   4. Intended Purpose
   5. Deviation from the Specification
2. Shell Construction
   1. Size
   2. Weight
      1. Gross Weight
      2. Tare Weight
   3. Inspections and Certifications
      1. USCG
      2. ABS
      3. Top Load Only
   4. ISO
   5. Workmanship
   6. Welding
   7. Panel Stiffness
   8. Fire Rating
   9. Deck Loading
   10. Top Panel Loading
   11. Recessing
   12. Materials
   13. Steel Option
   14. Lightweight Option
   15. Arrangements
       1. Stand Alone Arrangement
       2. AGOR Arrangement
   16. Doors and Hatches
       1. Personnel Doors
       2. Cargo Hatch
       3. Escape Hatch
          1. Hatch
          2. Ladder
   17. Exterior Finish
3. Interior Construction
   1. Insulation
   2. Preparation and Finish
   3. Mounting Channel
   4. Wire Passes and Vents
4. Services
   1. Electrical
      1. 3 Phase
      2. Single Phase
      3. Ship & Shore
      4. Notes
         1. Note 1
         2. Note 2
         3. Distribution Panel (Single Phase)
         4. Distribution Panel (3 phase van)
   2. Plumbing
      1. Fittings
   3. Placards and Labeling
      1. General Labeling
      2. Builder’s Plate
      3. USCG Inspection Plate
      4. Purpose and Weights Plate
      5. Plumbing Services
      6. Top Panel Loading
   4. Securing and Lifting Hardware Options
5. Van Outfitting
   1. General Van Options
      1. Exterior Options
         1. Hand Rail Sockets
         2. Lifting Hardware
         3. Standard Service Vestibule
         4. Service Vestibule Cover
         5. Service Vestibule Louvers
         6. Service Vestibule Cage
         7. Door Window
         8. Window/Portlight
         9. Wire Passes/Vents
         10. Recessed Power Service Connection
         11. Recessed Water Connection Option
         12. Ladder
         13. Escape Hatch Handholds
      2. Interior Options
         1. Deck Drains
         2. Bulkhead Mounting Channel
         3. Deck Mounting Channel
         4. Standard Electrical Configuration
            1. Lighting
            2. Power Outlets
            3. Optional Outlets
         5. Standard Benches
         6. Large Bench
         7. Small Bench
         8. Sink Bench
         9. Refrigerator/Freezer Bench
         10. Bench Chemical Trays
      3. HVAC Options
         1. Standard HVAC
         2. Double Unit HVAC
         3. Water HVAC
         4. Large Capacity HVAC
      4. Chemical Hood Options
         1. Small Chemical Hood
         2. Medium Chemical Hood
         3. Large Chemical Hood
      5. Emergency Equipment
         1. Communications
         2. Smoke Detectors
         3. Fire Extinguishers
         4. Emergency Lighting
   2. General Purpose Van Options
      1. Required General Van Options  
         A. Material  
         B. Power/Electrical  
         C. Arrangement  
         D. HVAC  
         E. Insulation  
         F. Exterior Paint  
         G. Door and Escape Hatch Locations  
         H. Bulkheads/Overhead Sheathing  
         I. Decking  
         J. Bench  
         K. Sink Bench  
         L. Refrigerator/Freezer Bench  
         M. Fume Hood  
         N. Emergency Light  
         O. Fire Extinguishers  
         P. Smoke Detector  
         Q. Handrails  
         R. Portlights  
         S. Door Windows  
         T. Deck Drains  
         U. Wire Pass/Vents  
         V. Mounting Channel
      2. Additional General Purpose Van Options  
         NONE
   3. Wet Van Options
      1. Required General Van Options
      2. Additional Wet Van Options
   4. Isotope Van Options
      1. Required General Van Options  
         A. Material  
         B. Power/Electrical  
         C. Arrangement  
         D. HVAC  
         E. Insulation  
         F. Exterior Paint  
         G. Door and Escape Hatch Locations  
         H. Bulkheads/Overhead Sheathing  
         I. Decking  
         J. Bench  
         K. Sink Bench  
         L. Refrigerator/Freezer Bench  
         M. Fume Hood  
         N. Emergency Light  
         O. Fire Extinguishers  
         P. Smoke Detector  
         Q. Handrails  
         R. Portlights  
         S. Door Windows  
         T. Deck Drains  
         U. Wire Pass/Vents  
         V. Mounting Channel
      2. Additional Isotope Van Options
         1. LSC Module (Liquid Scintillation Counter)
   5. Cold Van Options
      1. Required General Van Options  
         A. Material  
         B. Power/Electrical  
         C. Arrangement  
         D. HVAC  
         E. Insulation  
         F. Exterior Paint  
         G. Door and Escape Hatch Locations  
         H. Bulkheads/Overhead Sheathing  
         I. Decking  
         J. Bench  
         K. Sink Bench  
         L. Refrigerator/Freezer Bench  
         M. Fume Hood  
         N. Emergency Light  
         O. Fire Extinguishers  
         P. Smoke Detector  
         Q. Handrails  
         R. Portlights  
         S. Door Windows  
         T. Deck Drains  
         U. Wire Pass/Vents  
         V. Mounting Channel
      2. Additional Cold Van Options
         1. General
         2. Electrical
         3. HVAC
         4. Interior Bulkhead
         5. Insulation
         6. Thermometer
         7. Core Rack
   6. Chemical Van Options
      1. Required General Van Options
      2. Additional Chemical Van Options
         1. Fixed Fire fighting system
         2. Ventilation
         3. Shelving
         4. Secondary Containment
         5. Washdown
   7. Clean Van Options
      1. Required General Van Options  
         A. Centered Single Door “AGOR” Style  
         B. Recessed Power Service Connection Option  
         C. Recesses Water Services Connection Option  
         D. Large HVAC Option  
         E. Sink Bench
      2. Additional Clean Van Options
         1. Vestibule Wall
         2. Door
            1. Interior Bhd Passage Way (no door) Opening
            2. Door
            3. Window
         3. Pass Through
         4. Water Service Connections
         5. Blower for Chemical Hood
         6. Escape Hatch Plastic Drop Cover
         7. Clean Wall Covering
         8. Clean Van Bulkhead Mounting Channel
         9. Clean Van Electrical Outlet
         10. Clean Van Counter Top
         11. Clean Van Benches
             1. Bench 4’ w/ cabinet doors
             2. Bench 4’ with doors
             3. Bench 4’ with drawers
             4. Bench 4’ with open underneath
             5. Bench 2’ with cabinet drawers
             6. Bench 2’ with drawers
             7. Bench 2’ with open underneath
         12. Clean Sink
         13. Clean Filtration Filters for HVAC
         14. Laminar Flow Hood
   8. Berthing Van Options
      1. Required General Van Options
      2. Additional Berthing Van Options
   9. Electronics /Computer Van
      1. Required General Van Options  
         A. Material  
         B. Power/Electrical  
         C. Arrangement  
         D. HVAC  
         E. Insulation  
         F. Exterior Paint  
         G. Door and Escape Hatch Locations  
         H. Bulkheads/Overhead Sheathing  
         I. Decking  
         J. Bench  
         K. Emergency Light  
         L. Fire Extinguishers  
         M. Smoke Detector  
         N. Handrails  
         O. Portlights  
         P. Door Windows  
         Q. Wire Pass/Vents  
         R. Mounting Channel
      2. Additional Electronics/Computer Van Options
         1. Racks/Desk/Seating
         2. Equipment Racks
         3. Sink
         4. Fume Hood
         5. Flooring
   10. Chemical Storage Van Options
       1. Required General Van Options  
          A. Material  
          B. Power/Electrical  
          C. Arrangement  
          D. HVAC  
          E. Insulation  
          F. Exterior Paint  
          G. Door and Escape Hatch Locations  
          H. Bulkheads/Overhead Sheathing  
          I. Decking  
          J. Bench  
          K. Emergency Light  
          L. Fire Extinguishers  
          M. Smoke Detector  
          N. Handrails  
          O. Portlights  
          P. Door Windows  
          Q. Wire Pass/Vents  
          R. Mounting Channel
       2. Additional Chemical Storage Van Options
          1. General
          2. Fixed Fire Fighting
          3. Shelving
          4. Secondary Containment
          5. Ventilation
          6. Electrical Lighting
          7. Washdown
   11. Workshop Van Options
       1. Required General Van Options  
          A. Material  
          B. Power/Electrical  
          C. Arrangement  
          D. HVAC  
          E. Insulation  
          F. Exterior Paint  
          G. Door and Escape Hatch Locations  
          H. Bulkheads/Overhead Sheathing  
          I. Decking  
          J. Bench  
          K. Emergency Light  
          L. Fire Extinguishers  
          M. Smoke Detector  
          N. Handrails  
          O. Portlights  
          P. Door Windows  
          Q. Wire Pass/Vents  
          R. Mounting Channel
       2. Additional Workshop Van Options
          1. Benches
   12. Calibration Van Options
       1. Required General Van Options  
          A. Material  
          B. Power/Electrical  
          C. Arrangement  
          D. HVAC  
          E. Insulation  
          F. Exterior Paint  
          G. Door and Escape Hatch Locations  
          H. Bulkheads/Overhead Sheathing  
          I. Decking  
          J. Bench  
          K. Emergency Light  
          L. Fire Extinguishers  
          M. Smoke Detector  
          N. Handrails  
          O. Portlights  
          P. Door Windows  
          Q. Wire Pass/Vents  
          R. Mounting Channel
       2. Additional Calibration Van Options
          1. Lighting
   13. Power/Machinery Van Options
       1. Required General Van Options
       2. Additional Power/Machinery Van Options

REFERENCES

1. Regulatory Letters  
2. Fire Testing

Appendix A Drawings

Appendix B Electrical

Appendix C Lifting Options

Appendix D Regulatory